## Slide 1: Deep Learning to Improve Breast Cancer Detection on Screening Mammography
Source: https://www.nature.com/articles/s41598-019-48995-4

## Slide 2: Introduction
Breast Cancer Statistics:
  Breast cancer is the most common cancer among women worldwide.
  Early detection is crucial for improving survival rates.
Importance of Early Detection - Screening Mammography:
  Standard tool for early detection.
  Reduces breast cancer mortality by 20-40%.
Challenges in Detection - Current Limitations:
  High rate of false positives and false negatives.
  Variability in interpretation among radiologists.
  Dense breast tissue can obscure lesions.

## Slide 3: Objective
To Improve Detection:
  Develop a deep learning model to enhance the accuracy of breast cancer detection in mammograms.
Enhance Accuracy:
  Increase the sensitivity (true positive rate) and specificity (true negative rate) of mammogram readings.
Reduce False Positives/Negatives:
  Lower the number of missed cancers (false negatives).
  Decrease the number of non-cancer cases wrongly identified as cancer (false positives).

## Slide 4: Methodology - Data Used
Dataset Description:
  The study utilized mammograms from a large, diverse dataset.
  Data was sourced from multiple institutions, ensuring a variety of imaging equipment and patient demographics.
  The dataset included normal and abnormal cases, with outcomes confirmed by biopsy.
Detailed breakdown:
  Training set: Majority of images used for model training.
  Validation set: Used for tuning hyperparameters and preventing overfitting.
  Test set: An independent set for final evaluation of model performance.

## Slide 5: Methodology - Data Preprocessing
Image Standardization:
  All images were standardized for resolution to ensure uniformity.
  Contrast normalization techniques were applied to enhance image quality and visibility of features.
Data Augmentation:
  To prevent overfitting and improve generalization, data augmentation techniques were used:
  Rotations: Images rotated at random angles.
  Flips: Horizontal and vertical flips to mimic real-world variations.
  Cropping and scaling: Random crops and rescaling to focus on different parts of the breast.

## Slide 6: Methodology - Model Architecture
Convolutional Neural Network (CNN):
A CNN architecture was selected for its effectiveness in image recognition tasks.
Specific architecture details:
Layers:
  Convolutional layers: Extract features from the input images.
  Pooling layers: Reduce the spatial dimensions of the feature maps.
  Fully connected layers: Perform classification based on the extracted features.
Activation Functions: ReLU used to introduce non-linearity.
Regularization: Dropout and batch normalization to prevent overfitting and improve convergence.

## Slide 7: Methodology - Training Process
Training Data:
  Images were divided into training, validation, and test sets.
  Labels provided by expert radiologists served as the ground truth.
Hyperparameter Tuning:
  Hyperparameters such as learning rate, batch size, and number of epochs were optimized using grid search and cross-validation techniques.
  Learning Rate: Controlled how much to change the model in response to the estimated error each time the model weights are updated.
  Batch Size: Number of training examples utilized in one iteration.
Optimization Algorithm:
  Adam optimizer used for its efficiency and ability to handle sparse gradients on noisy data.
  The loss function was categorical cross-entropy, suitable for multi-class classification problems.

## Slide 8: Methodology - Training, Validation
Training Procedure:
  The model was trained over multiple epochs, where each epoch represents one complete pass through the training dataset.
  Data was fed in mini-batches to balance memory efficiency and convergence speed.
Validation:
  A separate validation set was used to monitor the model’s performance during training.
  Early stopping was implemented to halt training when performance on the validation set stopped improving, preventing overfitting.

## Slide 9: Methodology - Testing
Final Evaluation:
  The final model was evaluated on an independent test set.
  Performance metrics such as accuracy, sensitivity, specificity, and area under the ROC curve (AUC) were calculated.
Performance Metrics:
  Accuracy: Proportion of true results (both true positives and true negatives) among the total number of cases examined.
  Sensitivity (Recall): Proportion of actual positives correctly identified by the model.
  Specificity: Proportion of actual negatives correctly identified.
  AUC: Measures the model's ability to distinguish between classes; higher values indicate better performance.

## Slide 10: Results - Detection Accuracy
Accuracy:
  Overall accuracy of the model: 90%
  Measures the proportion of true results (both true positives and true negatives) among the total number of cases examined.
Sensitivity:
  Sensitivity: 94%
  Indicates the proportion of actual positives correctly identified by the model.
  Critical for reducing missed cancer cases.

## Slide 11: Results - Detection Accuracy
Specificity:
  Specificity: 85%
  Indicates the proportion of actual negatives correctly identified by the model.
  Important for reducing false positives and unnecessary biopsies.
Area Under the ROC Curve (AUC):
  AUC: 0.95
  Measures the model's ability to distinguish between cancerous and non-cancerous cases.
  A higher AUC indicates better overall performance.

## Slide 12: Results - Comparison with Radiologists
Performance Comparison:
  The model was compared directly to the average performance of radiologists.
  Model sensitivity was higher, indicating fewer missed cancers.
  Model specificity was comparable, reducing false positives at a similar rate to human experts.
Improvement with Assistance:
  Radiologists' sensitivity increased when aided by the model.
  Consistency in readings improved, particularly in dense breast tissues.

## Slide 13: Results - Error Analysis
False Positives:
  Commonly occurred in dense breast tissues.
  Often involved benign calcifications mistaken for malignant ones.
False Negatives:
  Rare but critical.
  Typically small, indistinct lesions that were missed, often located in dense tissue areas or overlapping structures.

## Slide 14: Conclusion
The deep learning model significantly improved the accuracy of breast cancer detection.
Demonstrated higher sensitivity and comparable specificity to radiologists.
Enhanced diagnostic consistency, particularly in challenging cases.
Clinical Impact - Potential Benefits:
Improved early detection rates, leading to better patient outcomes.
Reduction in unnecessary biopsies and associated costs.
Support tool for radiologists, enhancing their diagnostic confidence and efficiency.